## Gas Sensors
Dataset Reference
GAS SENSOR
Sources: Kaggle ¦ Zenodo ¦ UCI ML Repository ¦ Mendeley Data
Component | Detects | Source / Link
MQ-2 (Smoke / LPG / Combustible Gas) | LPG, butane, propane, methane, alcohol, H₂, smoke (200–5000 ppm) | kaggle.com/datasets/garystafford/environmental-sensor-data-132k zenodo.org/record/6616632
MQ-3 (Alcohol / Ethanol) | Ethanol, benzene, CH₄, hexane, LPG, CO (25–500 ppm alcohol) | archive.ics.uci.edu/ml/datasets/gas+sensor+array+under+dynamic+gas+mixtures
MQ-4 (Methane / Natural Gas) | CH₄, CNG, natural gas, H₂ (200–10000 ppm CH₄) | archive.ics.uci.edu/dataset/224/gas+sensor+array+drift+dataset
MQ-7 (Carbon Monoxide) | Carbon monoxide (CO) (20–2000 ppm) | archive.ics.uci.edu/ml/datasets/air+quality
MQ-135 (Air Quality / Multi-Gas) | NH₃, SO₂, CO, benzene, smoke, alcohol (10–300 ppm) | archive.ics.uci.edu/dataset/501/beijing+multi+site+air+quality+data
MQ-136 (Hydrogen Sulfide H₂S) | H₂S, sulfur-containing organic vapours (1–200 ppm H₂S) | kaggle.com/datasets/dakshbhalala/uci-air-quality-dataset data.mendeley.com/datasets/jmhr42p7sf/1

## CO2 & Particulate Sensors
CO₂ & Particulate Sensors — Dataset Reference
Sources: UCI ML Repository ¦ Kaggle ¦ IEEE DataPort (reference only)
Component | Detects | Recommended Dataset(s) | Source / Link
MG811 (CO₂ Electrochemical Sensor) | CO₂ (carbon dioxide) (350–10,000 ppm) Direct electrochemical reading | 1. UCI — Air Quality Dataset Hourly CO₂ sensor responses (metal-oxide, Italian city); certified analyzer reference 9,357 rows; March 2004 – Feb 2005 2. Kaggle — Smoke Detection Dataset (deepcontractor) eCO2 column (equivalent CO₂ via SGP30/CCS811); numerically comparable to MG811 ppm ✅ Already evaluated — suitable as training proxy 3. Kaggle — CO₂ emissions / indoor air quality datasets Search: kaggle.com/datasets?search=CO2+sensor | archive.ics.uci.edu/ml/datasets/air+quality kaggle.com/datasets/deepcontractor/smoke-detection-dataset kaggle.com/datasets?search=CO2+sensor Note: No direct MG811 electrochemical dataset is publicly available. eCO2 (ppm) from Smoke Detection Dataset is the best free proxy.
PM2.5 Optical Dust Sensor | Fine particulate matter ≤2.5 µm (µg/m³) Optical scattering principle | 1. UCI — Beijing PM2.5 Data Hourly readings from US Embassy Beijing; Jan 2010 – Dec 2014; ~43,000 rows Columns: PM2.5 (µg/m³), DEWP, TEMP, PRES, wind dir/speed, rain/snow 2. UCI — Beijing Multi-Site Air Quality PM2.5 + PM10 from 12 monitoring stations; 2013–2017 3. Kaggle — Beijing PM2.5 (Kaggle mirror) Same UCI dataset; easier download 4. Kaggle — Smoke Detection Dataset PM1.0, PM2.5, NC0.5, NC1.0, NC2.5 columns included ✅ | archive.ics.uci.edu/dataset/381/beijing+pm2+5+data archive.ics.uci.edu/dataset/501/beijing+multi+site+air+quality+data kaggle.com/datasets/djhavera/beijing-pm25-data-data-set kaggle.com/datasets/deepcontractor/smoke-detection-dataset